## Fig.2
|  | pristine |  |  | Resource Metadata: Experiment |  | AFM Measurement |  | Sample:Material
Current |  |  | Topography |  | Data tool associated with this file | multi-spectra | Illumination? | Yes | First (Top)_Light_Absorber_Material | Si
x-axis(m) | Current (A) |  | x-axis(m) | height (m) | data_source | LBL PEC Stand 1 | Front or Back | Front | Thickness (um) | 350
0 | -7.4999e-13 |  | 0 | 4.697e-08 | lab_environment | Indoor | Light_source_spectrum | white light | Band_gap (eV) | 1.1
7.819e-09 | -7.4999e-13 |  | 7.8341e-09 | 4.6832e-08 | measurement | Biased | Scan rate (Hz) | 1 | Resistivity (Ohm) | 0.1
1.5638e-08 | -7.4999e-13 |  | 1.5668e-08 | 4.7543e-08 | measurement_type | photoconductive atomic force microscopy (pc-AFM) | Scan size (µm2) | 2×2 | Doping_type_(n or p) | p+/p/n+
2.3457e-08 | -9.766e-13 |  | 2.3502e-08 | 4.9422e-08 | Measurement Type Other: | N/A | Samples/Line | 256 | Dopant
3.1276e-08 | -1.4454e-12 |  | 3.1336e-08 | 5.1445e-08 | Resource comments: | Characterizing the topography and measuring corresponding photocurrent via photoconductive atomic force microscopy (PC-AFM) measurement of Si/GaN photocathode samples before (as-received, AR) and after 10 hrs CA testing (modified surface, MS) using a commercial AFM system (Bruker Dimension Icon). PeakForce TUNA mode was used to acquire the morphology and current simultaneously. A PtIr conductive probe with spring constant of 2.8 Nm-1 was used for the scanning. A white light source was used to illuminate the surface during the acquisition. Line scan extracting the topography and photocurrent from a as-received Si/GaN sample. The topography mapping is 2 × 2 µm2. The sample bias was 0.4V and this photoconductive AFM measurement was performed under white light front illumination with an angle. | Probe | Antimony doped Si, coated with PtIr | Dopant_density
3.9095e-08 | -1.4273e-12 |  | 3.9171e-08 | 5.2634e-08 |  |  | conductivity (Ωcm) | 0.01-0.025
4.6914e-08 | -1.0519e-12 |  | 4.7005e-08 | 5.3112e-08 |  |  | Spring constant (N/m) | 2.8
5.4733e-08 | -7.4363e-13 |  | 5.4839e-08 | 5.3202e-08 |  |  | Bias | Yes
6.2552e-08 | -7.0682e-13 |  | 6.2673e-08 | 5.2883e-08 |  |  | Voltage (V) | -0.4
7.0371e-08 | -5.2152e-13 |  | 7.0507e-08 | 5.2286e-08
7.819e-08 | -6.0378e-13 |  | 7.8341e-08 | 5.1756e-08
8.6009e-08 | -6.8264e-13 |  | 8.6175e-08 | 5.116e-08
9.3828e-08 | -9.3659e-13 |  | 9.4009e-08 | 5.0374e-08
1.0165e-07 | -7.3308e-13 |  | 1.0184e-07 | 4.9568e-08
1.0947e-07 | -5.8001e-13 |  | 1.0968e-07 | 4.8783e-08
1.1728e-07 | -8.429e-13 |  | 1.1751e-07 | 4.8088e-08
1.251e-07 | -6.0421e-13 |  | 1.2535e-07 | 4.7304e-08
1.3292e-07 | -7.6902e-13 |  | 1.3318e-07 | 4.6412e-08
1.4074e-07 | -9.4675e-13 |  | 1.4101e-07 | 4.559e-08
1.4856e-07 | -5.7749e-13 |  | 1.4885e-07 | 4.4809e-08
1.5638e-07 | -4.4317e-13 |  | 1.5668e-07 | 4.3762e-08
1.642e-07 | -4.8524e-13 |  | 1.6452e-07 | 4.2375e-08
1.7202e-07 | -8.1356e-13 |  | 1.7235e-07 | 4.08e-08
1.7984e-07 | -7.8191e-13 |  | 1.8018e-07 | 3.9189e-08
1.8766e-07 | -8.7288e-13 |  | 1.8802e-07 | 3.7901e-08
1.9547e-07 | -8.4992e-13 |  | 1.9585e-07 | 3.6881e-08
2.0329e-07 | -7.4999e-13 |  | 2.0369e-07 | 3.684e-08
2.1111e-07 | -8.4643e-13 |  | 2.1152e-07 | 3.7114e-08
2.1893e-07 | -5.7354e-13 |  | 2.1936e-07 | 3.723e-08
2.2675e-07 | -7.7538e-13 |  | 2.2719e-07 | 3.7623e-08
2.3457e-07 | -1.0147e-12 |  | 2.3502e-07 | 3.9124e-08
2.4239e-07 | -7.5165e-13 |  | 2.4286e-07 | 4.1559e-08
2.5021e-07 | -6.6257e-12 |  | 2.5069e-07 | 4.6346e-08
2.5803e-07 | -1.4477e-11 |  | 2.5853e-07 | 5.1369e-08
2.6585e-07 | -2.8031e-11 |  | 2.6636e-07 | 5.6086e-08
2.7366e-07 | -5.8063e-11 |  | 2.7419e-07 | 5.9452e-08
2.8148e-07 | -7.4555e-11 |  | 2.8203e-07 | 6.136e-08
2.893e-07 | -5.6107e-11 |  | 2.8986e-07 | 6.23e-08
2.9712e-07 | -3.3715e-11 |  | 2.977e-07 | 6.2976e-08
3.0494e-07 | -1.1553e-11 |  | 3.0553e-07 | 6.2997e-08
3.1276e-07 | -2.6126e-12 |  | 3.1336e-07 | 6.2233e-08
3.2058e-07 | -1.9862e-12 |  | 3.212e-07 | 6.0895e-08
3.284e-07 | -1.0386e-12 |  | 3.2903e-07 | 5.9389e-08
3.3622e-07 | -7.4999e-13 |  | 3.3687e-07 | 5.7422e-08
3.4404e-07 | -6.7962e-13 |  | 3.447e-07 | 5.5319e-08
3.5185e-07 | -7.102e-13 |  | 3.5254e-07 | 5.3318e-08
3.5967e-07 | -1.0605e-12 |  | 3.6037e-07 | 5.1587e-08
3.6749e-07 | -8.5365e-13 |  | 3.682e-07 | 4.9585e-08
3.7531e-07 | -4.6988e-13 |  | 3.7604e-07 | 4.7282e-08
3.8313e-07 | -6.1591e-13 |  | 3.8387e-07 | 4.4874e-08
3.9095e-07 | -5.7968e-13 |  | 3.9171e-07 | 4.2903e-08
3.9877e-07 | -7.2678e-13 |  | 3.9954e-07 | 4.0907e-08
4.0659e-07 | -5.4729e-13 |  | 4.0737e-07 | 3.8777e-08
4.1441e-07 | -7.1693e-13 |  | 4.1521e-07 | 3.6275e-08
4.2222e-07 | -7.3331e-13 |  | 4.2304e-07 | 3.4543e-08
4.3004e-07 | -4.6834e-13 |  | 4.3088e-07 | 3.3445e-08
4.3786e-07 | -6.1809e-13 |  | 4.3871e-07 | 3.3272e-08
4.4568e-07 | -6.7843e-13 |  | 4.4654e-07 | 3.3622e-08
4.535e-07 | -8.8346e-13 |  | 4.5438e-07 | 3.4205e-08
4.6132e-07 | -6.7017e-13 |  | 4.6221e-07 | 3.4825e-08
4.6914e-07 | -4.1341e-13 |  | 4.7005e-07 | 3.5601e-08
4.7696e-07 | -5.4772e-13 |  | 4.7788e-07 | 3.6784e-08
4.8478e-07 | -7.1176e-13 |  | 4.8571e-07 | 3.7788e-08
4.926e-07 | -7.4999e-13 |  | 4.9355e-07 | 3.8891e-08
5.0041e-07 | -5.0441e-13 |  | 5.0138e-07 | 3.9814e-08
5.0823e-07 | -7.9449e-13 |  | 5.0922e-07 | 4.0907e-08
5.1605e-07 | -5.9472e-13 |  | 5.1705e-07 | 4.2047e-08
5.2387e-07 | -3.7499e-13 |  | 5.2489e-07 | 4.3189e-08
5.3169e-07 | -5.4925e-13 |  | 5.3272e-07 | 4.454e-08
5.3951e-07 | -4.6526e-13 |  | 5.4055e-07 | 4.5714e-08
5.4733e-07 | -6.2244e-13 |  | 5.4839e-07 | 4.6746e-08
5.5515e-07 | -6.7715e-13 |  | 5.5622e-07 | 4.8844e-08
5.6297e-07 | -6.1047e-13 |  | 5.6406e-07 | 5.2719e-08
5.7079e-07 | -6.9782e-13 |  | 5.7189e-07 | 5.7207e-08
5.786e-07 | -2.1253e-12 |  | 5.7972e-07 | 6.3772e-08
5.8642e-07 | -2.3257e-12 |  | 5.8756e-07 | 7.0168e-08
5.9424e-07 | -1.3697e-12 |  | 5.9539e-07 | 7.4044e-08
6.0206e-07 | -8.385e-13 |  | 6.0323e-07 | 7.619e-08
6.0988e-07 | -5.0006e-13 |  | 6.1106e-07 | 7.6228e-08
6.177e-07 | -6.2524e-13 |  | 6.1889e-07 | 7.6189e-08
6.2552e-07 | -8.5322e-13 |  | 6.2673e-07 | 7.7769e-08
6.3334e-07 | -3.7315e-13 |  | 6.3456e-07 | 8.1532e-08
6.4116e-07 | -6.126e-13 |  | 6.424e-07 | 8.5525e-08
6.4898e-07 | -8.8992e-13 |  | 6.5023e-07 | 8.8999e-08
6.5679e-07 | -9.488e-13 |  | 6.5807e-07 | 9.1834e-08
6.6461e-07 | -8.2224e-13 |  | 6.659e-07 | 9.3354e-08
6.7243e-07 | -4.9757e-13 |  | 6.7373e-07 | 9.3852e-08
6.8025e-07 | -8.8046e-13 |  | 6.8157e-07 | 9.333e-08
6.8807e-07 | -6.9329e-13 |  | 6.894e-07 | 9.1885e-08
6.9589e-07 | -7.3859e-13 |  | 6.9724e-07 | 8.9415e-08
7.0371e-07 | -5.3199e-13 |  | 7.0507e-07 | 8.5628e-08
7.1153e-07 | -4.4966e-13 |  | 7.129e-07 | 7.9677e-08
7.1935e-07 | -4.1048e-13 |  | 7.2074e-07 | 7.2163e-08
7.2717e-07 | -2.701e-13 |  | 7.2857e-07 | 6.2995e-08
7.3498e-07 | -6.5537e-13 |  | 7.3641e-07 | 5.2391e-08
7.428e-07 | -6.0501e-13 |  | 7.4424e-07 | 4.3947e-08
7.5062e-07 | -5.6036e-13 |  | 7.5207e-07 | 3.9052e-08
7.5844e-07 | -8.8152e-13 |  | 7.5991e-07 | 3.4496e-08
7.6626e-07 | -8.3389e-13 |  | 7.6774e-07 | 3.0304e-08
7.7408e-07 | -8.2539e-13 |  | 7.7558e-07 | 2.7274e-08
7.819e-07 | -7.0925e-13 |  | 7.8341e-07 | 2.594e-08
7.8972e-07 | -6.8498e-13 |  | 7.9125e-07 | 2.5921e-08
7.9754e-07 | -7.3611e-13 |  | 7.9908e-07 | 2.7859e-08
8.0535e-07 | -1.5231e-12 |  | 8.0691e-07 | 3.1851e-08
8.1317e-07 | -1.3589e-12 |  | 8.1475e-07 | 3.4487e-08
8.2099e-07 | -6.8427e-13 |  | 8.2258e-07 | 3.5933e-08
8.2881e-07 | -8.5045e-13 |  | 8.3042e-07 | 3.6096e-08
8.3663e-07 | -5.7296e-13 |  | 8.3825e-07 | 3.5395e-08
8.4445e-07 | -6.3426e-13 |  | 8.4608e-07 | 3.3553e-08
8.5227e-07 | -4.9041e-13 |  | 8.5392e-07 | 3.115e-08
8.6009e-07 | -4.514e-13 |  | 8.6175e-07 | 2.8538e-08
8.6791e-07 | -8.5264e-13 |  | 8.6959e-07 | 2.7326e-08
8.7573e-07 | -5.7031e-13 |  | 8.7742e-07 | 2.7108e-08
8.8354e-07 | -8.9663e-13 |  | 8.8525e-07 | 2.6753e-08
8.9136e-07 | -7.8708e-13 |  | 8.9309e-07 | 2.5899e-08
8.9918e-07 | -4.5516e-13 |  | 9.0092e-07 | 2.4404e-08
9.07e-07 | -5.5979e-13 |  | 9.0876e-07 | 2.276e-08
9.1482e-07 | -5.3177e-13 |  | 9.1659e-07 | 2.0858e-08
9.2264e-07 | -7.7858e-13 |  | 9.2443e-07 | 1.9203e-08
9.3046e-07 | -6.108e-13 |  | 9.3226e-07 | 1.7743e-08
9.3828e-07 | -1.1196e-12 |  | 9.4009e-07 | 1.6476e-08
9.461e-07 | -8.6312e-13 |  | 9.4793e-07 | 1.5657e-08
9.5392e-07 | -7.1725e-13 |  | 9.5576e-07 | 1.4721e-08
9.6173e-07 | -7.4999e-13 |  | 9.636e-07 | 1.3536e-08
9.6955e-07 | -2.9919e-13 |  | 9.7143e-07 | 1.2031e-08
9.7737e-07 | -5.6157e-13 |  | 9.7926e-07 | 1.1102e-08
9.8519e-07 | -4.8513e-13 |  | 9.871e-07 | 1.146e-08
9.9301e-07 | -7.1813e-13 |  | 9.9493e-07 | 1.3431e-08
1.0008e-06 | -7.8218e-13 |  | 1.0028e-06 | 1.6755e-08
1.0086e-06 | -5.6233e-13 |  | 1.0106e-06 | 1.9112e-08
1.0165e-06 | -6.7311e-13 |  | 1.0184e-06 | 2.0372e-08
1.0243e-06 | -6.7166e-13 |  | 1.0263e-06 | 2.094e-08
1.0321e-06 | -9.0647e-13 |  | 1.0341e-06 | 2.215e-08
1.0399e-06 | -8.2621e-13 |  | 1.0419e-06 | 2.4511e-08
1.0477e-06 | -6.3984e-13 |  | 1.0498e-06 | 2.7448e-08
1.0556e-06 | -7.0577e-13 |  | 1.0576e-06 | 3.0262e-08
1.0634e-06 | -7.4999e-13 |  | 1.0654e-06 | 3.3334e-08
1.0712e-06 | -8.2886e-13 |  | 1.0733e-06 | 3.5826e-08
1.079e-06 | -7.023e-13 |  | 1.0811e-06 | 3.7478e-08
1.0868e-06 | -9.0865e-13 |  | 1.0889e-06 | 3.8586e-08
1.0947e-06 | -5.5545e-13 |  | 1.0968e-06 | 3.8212e-08
1.1025e-06 | -3.7499e-13 |  | 1.1046e-06 | 3.6957e-08
1.1103e-06 | -7.5601e-13 |  | 1.1124e-06 | 4.0407e-08
1.1181e-06 | -9.5203e-13 |  | 1.1203e-06 | 4.6397e-08
1.1259e-06 | -9.7048e-13 |  | 1.1281e-06 | 5.0962e-08
1.1338e-06 | -5.405e-13 |  | 1.1359e-06 | 5.4044e-08
1.1416e-06 | -6.4608e-13 |  | 1.1438e-06 | 5.5729e-08
1.1494e-06 | -7.4999e-13 |  | 1.1516e-06 | 5.7637e-08
1.1572e-06 | -5.5816e-13 |  | 1.1594e-06 | 6.0261e-08
1.165e-06 | -8.6933e-13 |  | 1.1673e-06 | 6.2721e-08
1.1728e-06 | -1.0147e-12 |  | 1.1751e-06 | 6.4313e-08
1.1807e-06 | -3.18e-12 |  | 1.183e-06 | 6.5621e-08
1.1885e-06 | -3.7997e-12 |  | 1.1908e-06 | 6.6195e-08
1.1963e-06 | -2.5218e-12 |  | 1.1986e-06 | 6.658e-08
1.2041e-06 | -1.4295e-12 |  | 1.2065e-06 | 6.6007e-08
1.2119e-06 | -9.1709e-13 |  | 1.2143e-06 | 6.4641e-08
1.2198e-06 | -8.4834e-13 |  | 1.2221e-06 | 6.2988e-08
1.2276e-06 | -5.0503e-13 |  | 1.23e-06 | 6.0782e-08
1.2354e-06 | -5.6902e-13 |  | 1.2378e-06 | 5.8221e-08
1.2432e-06 | -7.2063e-13 |  | 1.2456e-06 | 5.4966e-08
1.251e-06 | -6.6901e-13 |  | 1.2535e-06 | 5.1245e-08
1.2589e-06 | -9.9656e-13 |  | 1.2613e-06 | 4.6947e-08
1.2667e-06 | -5.7286e-13 |  | 1.2691e-06 | 4.2336e-08
1.2745e-06 | -6.5136e-13 |  | 1.277e-06 | 3.9311e-08
1.2823e-06 | -4.7331e-13 |  | 1.2848e-06 | 3.8825e-08
1.2901e-06 | -5.7055e-13 |  | 1.2926e-06 | 4.1291e-08
1.298e-06 | -4.4396e-13 |  | 1.3005e-06 | 4.9104e-08
1.3058e-06 | -1.79e-13 |  | 1.3083e-06 | 5.924e-08
1.3136e-06 | -5.8439e-13 |  | 1.3161e-06 | 6.7181e-08
1.3214e-06 | -4.7175e-13 |  | 1.324e-06 | 7.3536e-08
1.3292e-06 | -7.3543e-13 |  | 1.3318e-06 | 7.8899e-08
1.337e-06 | -6.6336e-13 |  | 1.3396e-06 | 8.2621e-08
1.3449e-06 | -4.3134e-13 |  | 1.3475e-06 | 8.462e-08
1.3527e-06 | -7.6963e-13 |  | 1.3553e-06 | 8.5132e-08
1.3605e-06 | -5.0942e-13 |  | 1.3631e-06 | 8.5326e-08
1.3683e-06 | -9.352e-13 |  | 1.371e-06 | 8.4822e-08
1.3761e-06 | -6.4659e-13 |  | 1.3788e-06 | 8.3786e-08
1.384e-06 | -9.6416e-13 |  | 1.3866e-06 | 8.2879e-08
1.3918e-06 | -1.0424e-12 |  | 1.3945e-06 | 8.1657e-08
1.3996e-06 | -5.3476e-13 |  | 1.4023e-06 | 7.9836e-08
1.4074e-06 | -6.5665e-13 |  | 1.4101e-06 | 7.7561e-08
1.4152e-06 | -7.4999e-13 |  | 1.418e-06 | 7.4085e-08
1.4231e-06 | -9.4928e-13 |  | 1.4258e-06 | 6.955e-08
1.4309e-06 | -5.3264e-13 |  | 1.4336e-06 | 6.3717e-08
1.4387e-06 | -3.7499e-13 |  | 1.4415e-06 | 5.6301e-08
1.4465e-06 | -6.5821e-13 |  | 1.4493e-06 | 4.7877e-08
1.4543e-06 | -3.4965e-13 |  | 1.4571e-06 | 3.9094e-08
1.4621e-06 | -8.2166e-13 |  | 1.465e-06 | 3.1639e-08
1.47e-06 | -5.2998e-13 |  | 1.4728e-06 | 2.775e-08
1.4778e-06 | -4.5862e-13 |  | 1.4806e-06 | 2.5625e-08
1.4856e-06 | -8.8734e-13 |  | 1.4885e-06 | 2.4376e-08
1.4934e-06 | -5.2839e-13 |  | 1.4963e-06 | 2.3857e-08
1.5012e-06 | -6.6038e-13 |  | 1.5041e-06 | 2.4143e-08
1.5091e-06 | -4.6429e-13 |  | 1.512e-06 | 2.504e-08
1.5169e-06 | -7.4509e-13 |  | 1.5198e-06 | 2.6657e-08
1.5247e-06 | -8.9403e-13 |  | 1.5277e-06 | 3.039e-08
1.5325e-06 | -7.0213e-13 |  | 1.5355e-06 | 3.672e-08
1.5403e-06 | -7.241e-13 |  | 1.5433e-06 | 4.314e-08
1.5482e-06 | -4.6273e-13 |  | 1.5512e-06 | 4.8257e-08
1.556e-06 | -8.3165e-13 |  | 1.559e-06 | 5.2376e-08
1.5638e-06 | -5.9797e-13 |  | 1.5668e-06 | 5.5924e-08
1.5716e-06 | -5.6996e-13 |  | 1.5747e-06 | 5.8828e-08
1.5794e-06 | -9.1804e-13 |  | 1.5825e-06 | 6.0795e-08
1.5873e-06 | -8.1083e-13 |  | 1.5903e-06 | 6.2654e-08
1.5951e-06 | -1.1582e-12 |  | 1.5982e-06 | 6.4356e-08
1.6029e-06 | -5.8137e-13 |  | 1.606e-06 | 6.6032e-08
1.6107e-06 | -6.6474e-13 |  | 1.6138e-06 | 6.701e-08
1.6185e-06 | -4.5993e-13 |  | 1.6217e-06 | 6.7783e-08
1.6263e-06 | -2.5536e-13 |  | 1.6295e-06 | 6.838e-08
1.6342e-06 | -4.2571e-13 |  | 1.6373e-06 | 6.9051e-08
1.642e-06 | -6.0513e-13 |  | 1.6452e-06 | 6.9462e-08
1.6498e-06 | -1.0167e-12 |  | 1.653e-06 | 6.9211e-08
1.6576e-06 | -6.2749e-13 |  | 1.6608e-06 | 6.8448e-08
1.6654e-06 | -3.9942e-13 |  | 1.6687e-06 | 6.7261e-08
1.6733e-06 | -7.5314e-13 |  | 1.6765e-06 | 6.5761e-08
1.6811e-06 | -5.6769e-13 |  | 1.6843e-06 | 6.3564e-08
1.6889e-06 | -4.8524e-13 |  | 1.6922e-06 | 6.1249e-08
1.6967e-06 | -3.9905e-13 |  | 1.7e-06 | 5.8609e-08
1.7045e-06 | -6.6847e-13 |  | 1.7078e-06 | 5.5391e-08
1.7124e-06 | -6.6362e-13 |  | 1.7157e-06 | 5.1396e-08
1.7202e-06 | -6.0503e-13 |  | 1.7235e-06 | 4.6591e-08
1.728e-06 | -1.0112e-12 |  | 1.7313e-06 | 4.1092e-08
1.7358e-06 | -6.2219e-13 |  | 1.7392e-06 | 3.5566e-08
1.7436e-06 | -6.9353e-13 |  | 1.747e-06 | 3.0573e-08
1.7515e-06 | -6.6316e-13 |  | 1.7548e-06 | 2.7168e-08
1.7593e-06 | -6.3974e-13 |  | 1.7627e-06 | 2.4932e-08
1.7671e-06 | -6.3974e-13 |  | 1.7705e-06 | 2.3796e-08
1.7749e-06 | -4.3057e-13 |  | 1.7783e-06 | 2.3492e-08
1.7827e-06 | -6.7158e-13 |  | 1.7862e-06 | 2.4263e-08
1.7905e-06 | -6.627e-13 |  | 1.794e-06 | 2.7096e-08
1.7984e-06 | -8.145e-13 |  | 1.8018e-06 | 3.2996e-08
1.8062e-06 | -4.7525e-13 |  | 1.8097e-06 | 3.913e-08
1.814e-06 | -4.6255e-13 |  | 1.8175e-06 | 4.3426e-08
1.8218e-06 | -9.0622e-13 |  | 1.8253e-06 | 4.5761e-08
1.8296e-06 | -5.0557e-13 |  | 1.8332e-06 | 4.7208e-08
1.8375e-06 | -8.8469e-13 |  | 1.841e-06 | 4.7893e-08
1.8453e-06 | -5.9244e-13 |  | 1.8489e-06 | 4.8264e-08
1.8531e-06 | -6.9661e-13 |  | 1.8567e-06 | 4.8804e-08
1.8609e-06 | -6.6188e-13 |  | 1.8645e-06 | 4.9136e-08
1.8687e-06 | -6.3974e-13 |  | 1.8724e-06 | 4.9453e-08
1.8766e-06 | -9.4006e-13 |  | 1.8802e-06 | 5.0026e-08
1.8844e-06 | -5.0186e-13 |  | 1.888e-06 | 5.0277e-08
1.8922e-06 | -5.5194e-13 |  | 1.8959e-06 | 5.0285e-08
1.9e-06 | -4.1835e-13 |  | 1.9037e-06 | 4.9978e-08
1.9078e-06 | -4.6365e-13 |  | 1.9115e-06 | 4.9042e-08
1.9157e-06 | -6.0962e-13 |  | 1.9194e-06 | 4.8102e-08
1.9235e-06 | -8.5309e-13 |  | 1.9272e-06 | 4.7444e-08
1.9313e-06 | -1.2959e-12 |  | 1.935e-06 | 4.6749e-08
1.9391e-06 | -7.8412e-13 |  | 1.9429e-06 | 4.5878e-08
1.9469e-06 | -8.1797e-13 |  | 1.9507e-06 | 4.4793e-08
1.9547e-06 | -7.7103e-13 |  | 1.9585e-06 | 4.3216e-08
1.9626e-06 | -6.6069e-13 |  | 1.9664e-06 | 4.1424e-08
1.9704e-06 | -8.1852e-13 |  | 1.9742e-06 | 3.9394e-08
1.9782e-06 | -4.6639e-13 |  | 1.982e-06 | 3.6971e-08
1.986e-06 | -6.7967e-13 |  | 1.9899e-06 | 3.508e-08
1.9938e-06 | -4.45e-13 |  | 1.9977e-06 | 3.5108e-08